EVALUATION OF FABRIC THICKNESS USING INDUCTANCE PRINCIPLE

Shib Sankar Saha, Asim Mandal, Tapas Patra, Arindam Saha, Nirupam Sinha &

Abhijit Majumdar,College of Textile Technology, Berhampore- 742 101, India

#### Abstract

A new method has been proposed to measure the fabric thickness using the inductance principle. The developed instrument causes change in inductance due to the variation of fabric thickness. The relationship between inductance and fabric thickness has been interpreted by adaptive neuro-fuzzy inference system (ANFIS), as it is more apt than nonlinear regression models to decipher the existing relationship. It has been found that the proposed method can measure the fabric thickness with an average accuracy exceeding 95%.